## ATT&CK for ICS matrix
Initial Access | Execution | Persistence | Privilege Escalation | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control | Impact
Drive-by Compromise | Change Operating Mode | Hardcoded Credentials | Exploitation for Privilege Escalation | Change Operating Mode | Network Connection Enumeration | Default Credentials | Adversary-in-the-Middle | Commonly Used Port | Activate Firmware Update Mode | Brute Force I/O | Damage to Property
Exploit Public-Facing Application | Command-Line Interface | Modify Program | Hooking | Exploitation for Evasion | Network Sniffing | Exploitation of Remote Services | Automated Collection | Connection Proxy | Alarm Suppression | Modify Parameter | Denial of Control
Exploitation of Remote Services | Execution through API | Module Firmware |  | Indicator Removal on Host | Remote System Discovery | Hardcoded Credentials | Data from Information Repositories | Standard Application Layer Protocol | Block Command Message | Module Firmware | Denial of View
External Remote Services | Graphical User Interface | Project File Infection |  | Masquerading | Remote System Information Discovery | Lateral Tool Transfer | Detect Operating Mode |  | Block Reporting Message | Spoof Reporting Message | Loss of Availability
Internet Accessible Device | Hooking | System Firmware |  | Rootkit | Wireless Sniffing | Program Download | I/O Image |  | Block Serial COM | Unauthorized Command Message | Loss of Control
Remote Services | Modify Controller Tasking | Valid Accounts |  | Spoof Reporting Message |  | Remote Services | Monitor Process State |  | Data Destruction |  | Loss of Productivity and Revenue
Replication Through Removable Media | Native API |  |  |  |  | Valid Accounts | Point & Tag Identification |  | Denial of Service |  | Loss of Protection
Rogue Master | Scripting | [5 empty] | Program Upload |  | Device Restart/Shutdown |  | Loss of Safety
Spearphishing Attachment | User Execution | [5 empty] | Screen Capture |  | Manipulate I/O Image |  | Loss of View
Supply Chain Compromise | [6 empty] | Wireless Sniffing |  | Modify Alarm Settings |  | Manipulation of Control
Transient Cyber Asset | [8 empty] | Rootkit |  | Manipulation of View
Wireless Compromise | [8 empty] | Service Stop |  | Theft of Operational Information
System Firmware

## Field Controller or RTU or P...
Initial Access | Execution | Persistence | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control | Impact
Internet Accessible Device | Change Operating Mode | Hardcoded Credentials | Change Operating Mode | Network Sniffing | Default Credentials | Adversary-in-the-Middle | Commonly Used Port | Activate Firmware Update Mode | Brute Force I/O | Manipulation of View
Supply Chain Compromise | Command-Line Interface | Modify Program | Exploitation for Evasion | Remote System Discovery | Hardcoded Credentials | Automated Collection |  | Alarm Suppression | Modify Parameter
Wireless Compromise | Execution through API | Module Firmware | Rootkit | Remote System Information Discovery | Program Download | Detect Operating Mode |  | Block Command Message | Module Firmware
| Modify Controller Tasking | System Firmware |  |  | Valid Accounts | I/O Image |  | Block Reporting Message | Unauthorized Command Message
| Native API | Valid Accounts |  |  |  | Monitor Process State |  | Block Serial COM
[6 empty] | Program Upload |  | Data Destruction
Denial of Service
Device Restart/Shutdown
Manipulate I/O Image
Modify Alarm Settings
Rootkit
System Firmware

## Safety Instrumented System o...
Initial Access | Execution | Persistence | Privilege Escalation | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control
Internet Accessible Device | Change Operating Mode | Hardcoded Credentials | Exploitation for Privilege Escalation | Change Operating Mode | Remote System Discovery | Default Credentials | Automated Collection | Commonly Used Port | Activate Firmware Update Mode | Modify Parameter
Supply Chain Compromise | Native API | Module Firmware |  | Exploitation for Evasion | Remote System Information Discovery | Hardcoded Credentials | Monitor Process State |  | Alarm Suppression | Module Firmware
|  | System Firmware |  | Indicator Removal on Host |  | Program Download | Program Upload |  | Denial of Service
|  | Valid Accounts |  |  |  | Valid Accounts |  |  | Modify Alarm Settings
System Firmware

## Control Server matrix
Initial Access | Execution | Persistence | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control
External Remote Services | Command-Line Interface | Hardcoded Credentials | Masquerading | Remote System Discovery | Default Credentials | Adversary-in-the-Middle | Commonly Used Port | Data Destruction | Brute Force I/O
Internet Accessible Device | Native API | Valid Accounts | Spoof Reporting Message |  | Hardcoded Credentials | Automated Collection | Standard Application Layer Protocol | Modify Alarm Settings | Modify Parameter
Remote Services |  |  |  |  | Lateral Tool Transfer | Data from Information Repositories |  | Service Stop | Spoof Reporting Message
Replication Through Removable Media |  |  |  |  | Remote Services | Monitor Process State
Rogue Master |  |  |  |  | Valid Accounts | Point & Tag Identification
Spearphishing Attachment
Supply Chain Compromise
Wireless Compromise

## Input or Output Server matrix
Initial Access | Execution | Persistence | Lateral Movement | Inhibit Response Function
External Remote Services | Command-Line Interface | System Firmware | Valid Accounts | Block Reporting Message
Internet Accessible Device | Native API | Valid Accounts |  | Block Serial COM
Supply Chain Compromise |  |  |  | System Firmware
Wireless Compromise

## Human-Machine Interface matrix
Initial Access | Execution | Persistence | Privilege Escalation | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control | Impact
Exploit Public-Facing Application | Command-Line Interface | Hardcoded Credentials | Exploitation for Privilege Escalation | Indicator Removal on Host | Network Connection Enumeration | Default Credentials | Adversary-in-the-Middle | Commonly Used Port | Data Destruction | Modify Parameter | Loss of View
Exploitation of Remote Services | Graphical User Interface | Project File Infection |  | Masquerading | Remote System Discovery | Exploitation of Remote Services | Data from Information Repositories | Standard Application Layer Protocol | Modify Alarm Settings |  | Manipulation of View
Internet Accessible Device | Native API | Valid Accounts |  |  |  | Hardcoded Credentials | Monitor Process State |  | Service Stop
Remote Services | User Execution |  |  |  |  | Lateral Tool Transfer | Point & Tag Identification
Replication Through Removable Media | [5 empty] | Remote Services | Screen Capture
Rogue Master | [5 empty] | Valid Accounts
Spearphishing Attachment
Supply Chain Compromise

## Engineering Workstation matrix
Initial Access | Execution | Persistence | Privilege Escalation | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impact
Exploitation of Remote Services | Hooking | Hardcoded Credentials | Hooking | Default Credentials | Data from Information Repositories | Commonly Used Port | Service Stop | Loss of View
Remote Services | Scripting | Project File Infection |  | Exploitation of Remote Services |  | Standard Application Layer Protocol |  | Manipulation of View
Rogue Master | User Execution | Valid Accounts |  | Hardcoded Credentials
Spearphishing Attachment |  |  |  | Remote Services
Transient Cyber Asset |  |  |  | Valid Accounts

## Data Historian matrix
Initial Access | Execution | Persistence | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function
Exploitation of Remote Services | Command-Line Interface | Hardcoded Credentials | Remote System Discovery | Exploitation of Remote Services | Data from Information Repositories | Standard Application Layer Protocol | Service Stop
Internet Accessible Device | Native API | Valid Accounts |  | Hardcoded Credentials | Monitor Process State
Replication Through Removable Media |  |  |  | Lateral Tool Transfer | Point & Tag Identification
Spearphishing Attachment |  |  |  | Valid Accounts
Supply Chain Compromise