## campaigns
ID | STIX ID | name | description | url | created | last modified | domain | version | associated campaigns | associated campaigns citations | first seen | first seen citation | last seen | last seen citation | contributors | relationship citations
C0028 | campaign--46421788-b6e1-4256-b351-f8beffd1afba | 2015 Ukraine Electric Power Attack | [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028) was a [Sandworm Team](https://attack.mitre.org/groups/G0034) campaign during which they used [BlackEnergy](https://attack.mitre.org/software/S0089) (specifically BlackEnergy3) and [KillDisk](https://attack.mitre.org/software/S0607) to target and disrupt transmission and distribution substations within the Ukrainian power grid. This campaign was the first major public attack conducted against the Ukrainian power grid by Sandworm Team. | https://attack.mitre.org/campaigns/C0028 | 27 September 2023 | 04 August 2026 | enterprise-attack,ics-attack | 1.0 |  |  | 01 December 2015 | (Citation: Booz Allen Hamilton) | 01 January 2016 | (Citation: Booz Allen Hamilton) |  | (Citation: Booz Allen Hamilton),(Citation: Andy Greenberg June 2017),(Citation: Charles McLellan March 2016),(Citation: Ukraine15 - EISAC - 201603),(Citation: Booz Allen Hamilton),(Citation: Andy Greenberg June 2017),(Citation: US District Court Indictment GRU Unit 74455 October 2020)
C0025 | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | 2016 Ukraine Electric Power Attack | [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025) was a [Sandworm Team](https://attack.mitre.org/groups/G0034) campaign during which they used [Industroyer](https://attack.mitre.org/software/S0604) malware to target and disrupt distribution substations within the Ukrainian power grid. This campaign was the second major public attack conducted against Ukraine by [Sandworm Team](https://attack.mitre.org/groups/G0034).(Citation: ESET Industroyer)(Citation: Dragos Crashoverride 2018) | https://attack.mitre.org/campaigns/C0025 | 31 March 2023 | 31 July 2026 | enterprise-attack,ics-attack | 1.0 |  |  | 01 December 2016 | (Citation: ESET Industroyer)(Citation: Dragos Crashoverride 2018) | 01 December 2016 | (Citation: ESET Industroyer)(Citation: Dragos Crashoverride 2018) |  | (Citation: Dragos Crashoverride 2018),(Citation: ESET Industroyer),(Citation: Dragos Crashoverride 2018),(Citation: Joe Slowik August 2019),(Citation: US District Court Indictment GRU Unit 74455 October 2020)
C0034 | campaign--df8eb785-70f8-4300-b444-277ba849083d | 2022 Ukraine Electric Power Attack | The [2022 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0034) was a [Sandworm Team](https://attack.mitre.org/groups/G0034) campaign that used a combination of GOGETTER, Neo-REGEORG, [CaddyWiper](https://attack.mitre.org/software/S0693), and living of the land (LotL) techniques to gain access to a Ukrainian electric utility to send unauthorized commands from their SCADA system.(Citation: Mandiant-Sandworm-Ukraine-2022)(Citation: Dragos-Sandworm-Ukraine-2022) | https://attack.mitre.org/campaigns/C0034 | 27 March 2024 | 31 July 2026 | enterprise-attack,ics-attack | 1.0 |  |  | 01 June 2022 | (Citation: Mandiant-Sandworm-Ukraine-2022) | 01 October 2022 | (Citation: Mandiant-Sandworm-Ukraine-2022) |  | ,(Citation: Mandiant-Sandworm-Ukraine-2022),(Citation: Mandiant-Sandworm-Ukraine-2022),(Citation: Dragos-Sandworm-Ukraine-2022)
C0063 | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | 2025 Poland Wiper Attacks | [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063) is a Russian state-sponsored campaign that conducted destructive cyberattacks against Polish energy infrastructure in December 2025. Targets included more than 30 wind and photovoltaic farms, a combined heat and power (CHP) plant, and a manufacturing sector company. The attacks on the distributed energy resources (DER) disrupted communications between affected facilities and the distribution system operator, but did not impact electricity generation or heat supply. Across the campaign, threat actors deployed two previously undocumented wiper tools, [DynoWiper](https://attack.mitre.org/software/S9038), a Windows-based wiper and [LazyWiper](https://attack.mitre.org/software/S9039), a PowerShell wiper, distributed via malicious Group Policy Objects. At the CHP plant, threat actors had maintained access since at least March 2025, using that foothold to obtain credentials and move laterally before attempting wiper deployment. Some reporting has assessed the activity to be consistent with Russian Federal Security Service (FSB) threat activity group [Dragonfly](https://attack.mitre.org/groups/G0035), also tracked as STATIC TUNDRA, while other reporting attributes the destructive wiper activities to the Russian General Staff Main Intelligence Directorate (GRU) threat activity group ELECTRUM, also tracked as [Sandworm Team](https://attack.mitre.org/groups/G0034).(Citation: CERT Polska)(Citation: Dragos ELECTRUM JAN 2026)(Citation: ESET DynoWiper JAN 2026)(Citation: ESET DynoWiper Update JAN 2026) | https://attack.mitre.org/campaigns/C0063 | 22 April 2026 | 31 July 2026 | enterprise-attack,ics-attack | 1.0 | 2025 Poland Wiper Campaign |  | 01 March 2025 | (Citation: CERT Polska)(Citation: Dragos ELECTRUM JAN 2026) | 01 December 2025 | (Citation: CERT Polska)(Citation: Dragos ELECTRUM JAN 2026) | Dragos Threat Intelligence | ,(Citation: CERT Polska),(Citation: Dragos ELECTRUM JAN 2026),
C0066 | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | 2026 U.S. Water Utilities Attacks | [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066) was a campaign against more than 30 municipal water and wastewater utilities in Minnesota, beginning 27 July 2026, amid a wider pattern of similar activity the FBI and EPA reported across at least seven U.S. states.(Citation: Dragos Water Under Attack)(Citation: FBI Water and Wastewater) The adversary targeted internet-facing Rockwell Automation/Allen-Bradley MicroLogix 1100 and 1400 series programmable logic controllers reachable through cellular gateways at water towers and sewer lift stations, remotely accessing them and reconfiguring their IP addresses and passwords to lock operators out of monitoring and control functions.(Citation: Tenable Minnesota Water Utilities)(Citation: Forescout Water Systems Attack) At least one victim organization's PLC program logic was altered, and reported operational effects included loss of water pressure and flooding, with one utility taking its treatment plant offline entirely.(Citation: Forescout Water Systems Attack)(Citation: FBI Water and Wastewater) The campaign has not been formally attributed; some reporting describes the broader pattern as consistent with Iranian-affiliated activity, but attribution for the Minnesota intrusions specifically remains unconfirmed.(Citation: Dragos Water Under Attack) | https://attack.mitre.org/campaigns/C0066 | 08 October 2026 | 13 October 2026 | ics-attack | 1.0 | 2026 Water Utilities Attacks |  | 01 July 2026 | (Citation: FBI Water and Wastewater) | 01 July 2026 | (Citation: Dragos Water Under Attack) |  | ,(Citation: Tenable Minnesota Water Utilities),(Citation: Dragos Water Under Attack),(Citation: FBI Water and Wastewater),(Citation: Forescout Water Systems Attack),
C0064 | campaign--199f5568-ca25-4892-b7a5-870503e4d0f4 | AI-Assisted Breach of Mexico's Government Infrastructure | The [AI-Assisted Breach of Mexico's Government Infrastructure](https://attack.mitre.org/campaigns/C0064) is a campaign where human operators used Claude Code AI and OpenAI GPT GPT-4.1 AI to perform reconnaissance, vulnerability exploitation, privilege escalation, discovery, credential harvesting, and exfiltration operations. The attack impacted several Mexican government institutions including the Federal Tax Authority (Servicio de Administracion Tributaria), Mexico State Government (Estado de Mexico), Mexico City Civil Registry (Registro Civil de CDMX), Jalisco State Government, National Electoral Institute (Instituto Nacional Electoral), Michoacan State Government, SADM Monterrey Municipal Water Utility (Agua y Drenaje), Tamaulipas State Government, and the Mexico City Health Department (Salud CDMX). The attack resulted in the theft of large amounts of sensitive government data and civilian records. Please note that due to the breadth of this campaign, public reporting only provides select details and as a result this campaign should not be considered comprehensive.(Citation: AI-Mexico-Govt-Compromise) | https://attack.mitre.org/campaigns/C0064 | 02 September 2026 | 09 October 2026 | enterprise-attack,ics-attack | 1.0 |  |  | 01 December 2025 | (Citation: AI-Mexico-Govt-Compromise) | 01 February 2026 | (Citation: AI-Mexico-Govt-Compromise) |  | (Citation: AI-Mexico-Govt-Breach),,
C0041 | campaign--1169ff24-b35f-4d8d-8cf3-643a2834227f | FrostyGoop Incident | [FrostyGoop Incident](https://attack.mitre.org/campaigns/C0041) took place in January 2024 against a municipal district heating company in Ukraine. Following initial access via likely exploitation of external facing services, [FrostyGoop](https://attack.mitre.org/software/S1165) was used to manipulate ENCO control systems via legitimate Modbus commands to impact the delivery of heating services to Ukrainian civilians.(Citation: Dragos FROSTYGOOP 2024)(Citation: Nozomi BUSTLEBERM 2024) | https://attack.mitre.org/campaigns/C0041 | 20 November 2024 | 31 July 2026 | enterprise-attack,ics-attack | 1.0 |  |  | 01 January 2024 | (Citation: Dragos FROSTYGOOP 2024) | 01 January 2024 | (Citation: Dragos FROSTYGOOP 2024) |  | (Citation: Dragos FROSTYGOOP 2024),(Citation: Dragos FROSTYGOOP 2024),
C0020 | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | Maroochy Water Breach | [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020) was an incident in 2000 where an adversary leveraged the local government’s wastewater control system and stolen engineering equipment to disrupt and eventually release 800,000 liters of raw sewage into the local community.(Citation: Marshall Abrams July 2008) | https://attack.mitre.org/campaigns/C0020 | 10 March 2023 | 31 July 2026 | ics-attack | 1.0 |  |  | 01 February 2000 | (Citation: Marshall Abrams July 2008) | 01 April 2000 | (Citation: Marshall Abrams July 2008) |  | ,(Citation: Marshall Abrams July 2008),
C0030 | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | Triton Safety Instrumented System Attack | [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030) was a campaign employed by [TEMP.Veles](https://attack.mitre.org/groups/G0088) which leveraged the [Triton](https://attack.mitre.org/software/S1009) malware framework against a petrochemical organization.(Citation: Triton-EENews-2017) The malware and techniques used within this campaign targeted specific Triconex [Safety Controller](https://attack.mitre.org/assets/A0010)s within the environment.(Citation: FireEye TRITON 2018) The incident was eventually discovered due to a safety trip that occurred as a result of an issue in the malware.(Citation: FireEye TRITON 2017) | https://attack.mitre.org/campaigns/C0030 | 25 March 2024 | 31 July 2026 | enterprise-attack,ics-attack | 1.1 |  |  | 01 June 2017 | (Citation: Triton-EENews-2017) | 01 August 2017 | (Citation: Triton-EENews-2017) |  | (Citation: FireEye TEMP.Veles 2018),(Citation: FireEye TRITON 2018),(Citation: FireEye TRITON Dec 2017),(Citation: FireEye TEMP.Veles 2018),(Citation: FireEye TRITON 2018),(Citation: FireEye TRITON Dec 2017),(Citation: Triton-EENews-2017),(Citation: FireEye TEMP.Veles 2018),(Citation: FireEye TRITON Dec 2017)
C0031 | campaign--8fda050f-470d-4401-994e-35c1a6c301de | Unitronics Defacement Campaign | The [Unitronics Defacement Campaign](https://attack.mitre.org/campaigns/C0031) was a collection of intrusions across multiple sectors by the [CyberAv3ngers](https://attack.mitre.org/groups/G1027), where threat actors engaged in a seemingly opportunistic and global targeting and defacement of Unitronics Vision Series [Programmable Logic Controller (PLC)](https://attack.mitre.org/assets/A0003) with [Human-Machine Interface (HMI)](https://attack.mitre.org/assets/A0002). The sectors that these PLCs can be commonly found in are water and wastewater, energy, food and beverage manufacturing, and healthcare. The most notable feature of this attack was the defacement of the PLCs' HMIs.(Citation: CISA AA23-335A IRGC-Affiliated December 2023)(Citation: Frank Bajak and Marc Levy December 2023) | https://attack.mitre.org/campaigns/C0031 | 25 March 2024 | 31 July 2026 | ics-attack | 1.0 |  |  | 01 November 2023 | (Citation: CISA AA23-335A IRGC-Affiliated December 2023) | 01 November 2023 | (Citation: Lisa Zahner December 2023) |  | ,(Citation: Jamie Tarabay and Katrina Manson December 2023),(Citation: Lisa Zahner December 2023),(Citation: Frank Bajak and Marc Levy December 2023),(Citation: CISA AA23-335A IRGC-Affiliated December 2023),(Citation: CISA Unitronics November 2023),(Citation: WPXI Aliquippa Water November 2023),(Citation: CISA AA23-335A IRGC-Affiliated December 2023)

## associated software
source ID | source name | source ref | source type | mapping type | target ID | target name | target ref | target type | mapping description | STIX ID | created | last modified
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | S0089 | BlackEnergy | malware--54cc1d4f-5c53-4f0e-9ef5-11b4998e82e4 | software | (Citation: Booz Allen Hamilton) | relationship--c8e78d6f-ac9d-4ad3-ae13-238f1eb4423a | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | S0607 | KillDisk | malware--e221eb77-1502-4129-af1d-fe1ad55e7ec6 | software | (Citation: Booz Allen Hamilton) | relationship--1dad5efc-395f-4b92-8f4f-3e987a4d5e57 | 27 September 2023 | 04 August 2026
C0025 | 2016 Ukraine Electric Power Attack | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | campaign | uses | S0604 | Industroyer | malware--e401d4fe-f0c9-44f0-98e6-f93487678808 | software | Within the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Industroyer](https://attack.mitre.org/software/S0604) was used to target and disrupt the Ukrainian power grid substation components.(Citation: Dragos Crashoverride 2018)(Citation: ESET Industroyer) | relationship--57e8711a-9aae-4a22-94d4-f4c8a3a8f141 | 31 March 2023 | 31 July 2026
C0064 | AI-Assisted Breach of Mexico's Government Infrastructure | campaign--199f5568-ca25-4892-b7a5-870503e4d0f4 | campaign | uses | S9045 | BACKUPOSINT v9.0 APEX PREDATOR | malware--ab183324-4634-45bc-98af-9458bb94bcef | software | During the [AI-Assisted Breach of Mexico's Government Infrastructure](https://attack.mitre.org/campaigns/C0064), the adversary tasked Claude Code with generating and executing numerous Python scripts including [BACKUPOSINT v9.0 APEX PREDATOR](https://attack.mitre.org/software/S9045) to achieve their objectives.(Citation: AI-Mexico-Govt-Breach) | relationship--ac1e880f-cc28-4344-91f3-6decd83975c4 | 01 October 2026 | 01 October 2026
C0041 | FrostyGoop Incident | campaign--1169ff24-b35f-4d8d-8cf3-643a2834227f | campaign | uses | S1165 | FrostyGoop | malware--b34df04a-9d30-4d84-a03f-0d536ee19a05 | software | [FrostyGoop Incident](https://attack.mitre.org/campaigns/C0041) used [FrostyGoop](https://attack.mitre.org/software/S1165) to manipulate OT devices to induce a district heating disruption in Ukraine.(Citation: Dragos FROSTYGOOP 2024) | relationship--12e84466-fb05-4d55-9220-5933ee0fcb43 | 20 November 2024 | 31 July 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | S1009 | Triton | malware--80099a91-4c86-4bea-9ccb-dac55d61960e | software | [TEMP.Veles](https://attack.mitre.org/groups/G0088) leveraged [Triton](https://attack.mitre.org/software/S1009) to interact and disrupt Triconex safety instrumented systems throughout this campaign.(Citation: FireEye TEMP.Veles 2018)(Citation: FireEye TRITON 2018)(Citation: FireEye TRITON Dec 2017) | relationship--533bd747-2567-4c53-a10b-938734f8aeab | 25 March 2024 | 31 July 2026

## techniques used
source ID | source name | source ref | source type | mapping type | target ID | target name | target ref | target type | mapping description | STIX ID | created | last modified
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T1691.001 | Command Message | attack-pattern--15ca2a99-2d3e-457f-b1d7-c52a1d5849c9 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) blocked command messages by using malicious firmware to render serial-to-ethernet converters inoperable. (Citation: Ukraine15 - EISAC - 201603) | relationship--ba9ebebf-d5dd-4a5c-b44f-a07cc3ccac8b | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T1692.001 | Command Message | attack-pattern--4344d1b8-968b-4697-9ab9-f9abe5f52265 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) issued unauthorized commands to substation breaks after gaining control of operator workstations and accessing a distribution management system (DMS) application. (Citation: Ukraine15 - EISAC - 201603) | relationship--cdc5aea4-1aac-4e6b-86cd-39617629d96b | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0885 | Commonly Used Port | attack-pattern--e6c31185-8040-4267-83d3-b217b8a92f07 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) used port 443 to communicate with their C2 servers. (Citation: Booz Allen Hamilton) | relationship--6573327e-3757-424e-8570-04ffe7d5d0e2 | 27 September 2023 | 03 September 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0884 | Connection Proxy | attack-pattern--d67adac8-e3b9-44f9-9e6d-6c2a7d69dbe4 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) established an internal proxy prior to the installation of backdoors within the network. (Citation: Booz Allen Hamilton) | relationship--13d76624-7049-45c5-94d3-8f172b7f6336 | 27 September 2023 | 03 September 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0813 | Denial of Control | attack-pattern--e33c7ecc-5a38-497f-beb2-a9a2049a4c20 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [KillDisk](https://attack.mitre.org/software/S0607) rendered devices that were necessary for remote recovery unusable, including at least one RTU. Additionally, [Sandworm Team](https://attack.mitre.org/groups/G0034) overwrote the firmware for serial-to-ethernet converters, denying operators control of the downstream devices. (Citation: Booz Allen Hamilton)(Citation: Ukraine15 - EISAC - 201603) | relationship--97756c8a-b702-472b-8d67-15464a73093e | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0814 | Denial of Service | attack-pattern--1b22b676-9347-4c55-9a35-ef0dc653db5b | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), power company phone line operators were hit with a denial of service attack so that they couldn’t field customers’ calls about outages. Operators were also denied service to their downstream devices when their serial-to-ethernet converters had their firmware overwritten, which bricked the devices. (Citation: Ukraine15 - EISAC - 201603) | relationship--7d752615-33f0-44ed-a156-25d84f384e75 | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0816 | Device Restart/Shutdown | attack-pattern--25dfc8ad-bd73-4dfd-84a9-3c3d383f76e9 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) scheduled the uninterruptable power supplies (UPS) to shutdown data and telephone servers via the UPS management interface. (Citation: Ukraine15 - EISAC - 201603)(Citation: Booz Allen Hamilton) | relationship--8b7403f5-90d2-4d2c-a484-87d29f419a9f | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0822 | External Remote Services | attack-pattern--8d2f3bab-507c-4424-b58b-edc977bd215c | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) used Valid Accounts taken from the Windows Domain Controller to access the control system Virtual Private Network (VPN) used by grid operators. (Citation: Booz Allen Hamilton) | relationship--00b9e63b-57a7-408e-83d6-fc03535010a6 | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0823 | Graphical User Interface | attack-pattern--b0628bfc-5376-4a38-9182-f324501cb4cf | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) utilized HMI GUIs in the SCADA environment to open breakers. (Citation: Ukraine15 - EISAC - 201603) | relationship--8d0d6365-7bc0-417d-9268-c7c31fcb0d91 | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0867 | Lateral Tool Transfer | attack-pattern--ead7bd34-186e-4c79-9a4d-b65bcce6ed9d | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) moved their tools laterally within the ICS network. (Citation: Booz Allen Hamilton) | relationship--8a86ad59-dff1-46dc-8ffd-3c62b96c6e62 | 27 September 2023 | 03 September 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0826 | Loss of Availability | attack-pattern--b5b9bacb-97f2-4249-b804-47fd44de1f95 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) opened the breakers at the infected sites, shutting the power off for thousands of businesses and households for around 6 hours. (Citation: Ukraine15 - EISAC - 201603)(Citation: Booz Allen Hamilton) | relationship--f7c5bd1b-c596-41b2-b415-2bf5179667df | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0827 | Loss of Control | attack-pattern--a81696ef-c106-482c-8f80-59c30f2569fb | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), operators were shut out of their equipment either through the denial of peripheral use or the degradation of equipment. Operators were therefore unable to recover from the incident through their traditional means. Much of the power was restored manually. (Citation: Ukraine15 - EISAC - 201603) | relationship--d1388bba-9869-4e3e-a6c9-430784ad924d | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0828 | Loss of Productivity and Revenue | attack-pattern--63b6942d-8359-4506-bfb3-cf87aa8120ee | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), power breakers were opened which caused the operating companies to be unable to deliver power, and left thousands of businesses and households without power for around 6 hours. (Citation: Ukraine15 - EISAC - 201603)(Citation: Booz Allen Hamilton) | relationship--423271c0-04dc-42d0-8e27-fb0b6067e096 | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0831 | Manipulation of Control | attack-pattern--1af9e3fd-2bcc-414d-adbd-fe3b95c02ca1 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) opened live breakers via remote commands to the HMI, causing blackouts. (Citation: Ukraine15 - EISAC - 201603) | relationship--4f83cc15-274d-44c6-859f-e598e362e76e | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0886 | Remote Services | attack-pattern--e1f9cdd2-9511-4fca-90d7-f3e92cfdd0bf | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) used an IT helpdesk software to move the mouse on ICS control devices to maliciously release electricity breakers. (Citation: Andy Greenberg June 2017) | relationship--352ed52c-88ba-4731-a917-4c33da0f29d4 | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0846 | Remote System Discovery | attack-pattern--d5a69cfb-fc2a-46cb-99eb-74b236db5061 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) remotely discovered operational assets once on the OT network. (Citation: Charles McLellan March 2016) (Citation: Booz Allen Hamilton) | relationship--a57b233b-6613-4f78-aa48-e85518aaa7cf | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T1691.002 | Reporting Message | attack-pattern--7866bb5f-98ee-45c2-984c-8a328c5176b2 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) blocked reporting messages by using malicious firmware to render serial-to-ethernet converters inoperable. (Citation: Ukraine15 - EISAC - 201603) | relationship--da38a045-d29a-4c08-9951-c8e520229584 | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T1695.001 | Serial COM | attack-pattern--55e7e5c1-3760-4451-bae0-e79b29f452c5 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) overwrote the serial-to-ethernet converter firmware, rendering the devices not operational. This meant that communication to the downstream serial devices was either not possible or more difficult. (Citation: Booz Allen Hamilton) | relationship--6fb4c5ec-4079-4419-a098-6e3cf026c360 | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T1693.001 | System Firmware | attack-pattern--68a9324d-a524-4766-a899-a026f68a33df | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) overwrote the serial-to-ethernet gateways with custom firmware to make systems either disabled, shutdown, and/or unrecoverable. (Citation: Ukraine15 - EISAC - 201603) | relationship--5068c7c3-5922-447a-bf49-8301e797e992 | 27 September 2023 | 04 August 2026
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | uses | T0859 | Valid Accounts | attack-pattern--cd2c76a4-5e23-4ca5-9c40-d5e0604f7101 | technique | During the [2015 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0028), [Sandworm Team](https://attack.mitre.org/groups/G0034) used valid accounts to laterally move through VPN connections and dual-homed systems. Sandworm Team used the credentials of valid accounts to interact with client applications and access employee workstations hosting HMI applications. (Citation: Ukraine15 - EISAC - 201603)(Citation: Booz Allen Hamilton) | relationship--2f0d1a71-7cb6-4979-b072-a859d117d47f | 27 September 2023 | 04 August 2026
C0025 | 2016 Ukraine Electric Power Attack | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | campaign | uses | T0867 | Lateral Tool Transfer | attack-pattern--ead7bd34-186e-4c79-9a4d-b65bcce6ed9d | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) used a VBS script to facilitate lateral tool transfer. The VBS script was used to copy ICS-specific payloads with the following command: `cscript C:\Backinfo\ufn.vbs C:\Backinfo\101.dll C:\Delta\101.dll`(Citation: Dragos Crashoverride 2018) | relationship--49966e16-04a2-4fd7-86cd-aa934040a9d8 | 31 March 2023 | 03 September 2026
C0025 | 2016 Ukraine Electric Power Attack | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | campaign | uses | T0849 | Masquerading | attack-pattern--ba203963-3182-41ac-af14-7e7ebc83cd61 | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) transferred executable files as .txt and then renamed them to .exe, likely to avoid detection through extension tracking.(Citation: Dragos Crashoverride 2018) | relationship--e156609f-c30b-4bf5-8a1b-9689ba778a14 | 31 March 2023 | 31 July 2026
C0025 | 2016 Ukraine Electric Power Attack | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | campaign | uses | T1701.001 | PowerShell | attack-pattern--e3496d05-0826-4187-a993-80f29aa5a40a | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) utilized VBS and batch scripts for file movement and as wrappers for PowerShell execution.(Citation: Dragos Crashoverride 2018) | relationship--c7ab3b87-4a54-4a24-9ed0-1ed360c3e03e | 25 September 2026 | 25 September 2026
C0025 | 2016 Ukraine Electric Power Attack | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | campaign | uses | T0886 | Remote Services | attack-pattern--e1f9cdd2-9511-4fca-90d7-f3e92cfdd0bf | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) used MS-SQL access to a pivot machine, allowing code execution throughout the ICS network.(Citation: Dragos Crashoverride 2018) | relationship--4b98b72c-a093-4917-a21b-a0b4f388e98e | 31 March 2023 | 31 July 2026
C0025 | 2016 Ukraine Electric Power Attack | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | campaign | uses | T0859 | Valid Accounts | attack-pattern--cd2c76a4-5e23-4ca5-9c40-d5e0604f7101 | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) used valid accounts to laterally move through VPN connections and dual-homed systems.(Citation: Dragos Crashoverride 2018) | relationship--a6479493-6154-408f-90df-9d2f3ae352d1 | 31 March 2023 | 31 July 2026
C0025 | 2016 Ukraine Electric Power Attack | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | campaign | uses | T1701.004 | Visual Basic | attack-pattern--d0225461-2610-469e-8c52-56ec12ac0c71 | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) utilized VBS and batch scripts for file movement and as wrappers for PowerShell execution.(Citation: Dragos Crashoverride 2018) | relationship--35bacdf8-60e5-4590-a71c-43c53c94509a | 25 September 2026 | 25 September 2026
C0025 | 2016 Ukraine Electric Power Attack | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | campaign | uses | T1701.002 | Windows Command Shell | attack-pattern--84acafb8-775e-4381-a156-876fd7ea129e | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) utilized VBS and batch scripts for file movement and as wrappers for PowerShell execution.(Citation: Dragos Crashoverride 2018) | relationship--63be361c-72a7-4a17-923e-f7c957c29ae0 | 25 September 2026 | 25 September 2026
C0034 | 2022 Ukraine Electric Power Attack | campaign--df8eb785-70f8-4300-b444-277ba849083d | campaign | uses | T0895 | Autorun Image | attack-pattern--77d9c726-b53e-481d-8bcc-1068aebfbb9d | technique | During the [2022 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0034), [Sandworm Team](https://attack.mitre.org/groups/G0034) used existing hypervisor access to map an ISO image named `a.iso` to a virtual machine running a SCADA server. The SCADA server’s operating system was configured to autorun CD-ROM images, and as a result, a malicious VBS script on the ISO image was automatically executed.(Citation: Mandiant-Sandworm-Ukraine-2022) | relationship--d4da5e90-7986-4c8a-bfb6-df4c0586ce87 | 27 March 2024 | 31 July 2026
C0034 | 2022 Ukraine Electric Power Attack | campaign--df8eb785-70f8-4300-b444-277ba849083d | campaign | uses | T1692.001 | Command Message | attack-pattern--4344d1b8-968b-4697-9ab9-f9abe5f52265 | technique | During the [2022 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0034), [Sandworm Team](https://attack.mitre.org/groups/G0034) used the MicroSCADA SCIL-API to specify a set of SCADA instructions, including the sending of unauthorized commands to substation devices.(Citation: Mandiant-Sandworm-Ukraine-2022) | relationship--cf3d020e-5ca7-4867-a502-654e445cc45c | 27 March 2024 | 31 July 2026
C0034 | 2022 Ukraine Electric Power Attack | campaign--df8eb785-70f8-4300-b444-277ba849083d | campaign | uses | T0894 | System Binary Proxy Execution | attack-pattern--1c5cf58c-a34a-40d7-82f4-f987cdfc2b91 | technique | During the [2022 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0034), [Sandworm Team](https://attack.mitre.org/groups/G0034) executed a MicroSCADA application binary `scilc.exe` to send a predefined list of SCADA instructions specified in a file defined by the adversary, `s1.txt`. The executed command `C:\sc\prog\exec\scilc.exe -do pack\scil\s1.txt` leverages the SCADA software to send unauthorized command messages to remote substations.(Citation: Mandiant-Sandworm-Ukraine-2022) | relationship--984d517f-56a1-4eb4-95e5-994eb9c6c3b5 | 27 March 2024 | 31 July 2026
C0034 | 2022 Ukraine Electric Power Attack | campaign--df8eb785-70f8-4300-b444-277ba849083d | campaign | uses | T1701.004 | Visual Basic | attack-pattern--d0225461-2610-469e-8c52-56ec12ac0c71 | technique | During the [2022 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0034), [Sandworm Team](https://attack.mitre.org/groups/G0034) utilizes a Visual Basic script `lun.vbs` to execute `n.bat` which then executed the MicroSCADA `scilc.exe` command.(Citation: Mandiant-Sandworm-Ukraine-2022) | relationship--3ea96b43-20d6-4a92-ae44-874a2dc17136 | 25 September 2026 | 25 September 2026
C0034 | 2022 Ukraine Electric Power Attack | campaign--df8eb785-70f8-4300-b444-277ba849083d | campaign | uses | T1701.002 | Windows Command Shell | attack-pattern--84acafb8-775e-4381-a156-876fd7ea129e | technique | During the [2022 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0034), [Sandworm Team](https://attack.mitre.org/groups/G0034) utilizes a Visual Basic script `lun.vbs` to execute `n.bat` which then executed the MicroSCADA `scilc.exe` command.(Citation: Mandiant-Sandworm-Ukraine-2022) | relationship--85cd5c54-08b9-49e4-8a26-cc6c84704908 | 25 September 2026 | 25 September 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0846.002 | Broadcast Discovery | attack-pattern--c55f0be5-044e-4577-8095-65b37680d28c | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used `arp` to conduct remote system discovery activities.(Citation: CERT Polska) | relationship--de973619-e66f-4cb8-92fc-0d5fe85214fa | 23 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0892 | Change Credential | attack-pattern--fab8fc7d-f27f-4fbb-9de6-44740aade05f | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries changed the login password of Moxa NPort Serial Device Servers to impede system recovery.(Citation: CERT Polska) | relationship--1582107d-95dd-41ba-b2c0-72200b93a292 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0885 | Commonly Used Port | attack-pattern--e6c31185-8040-4267-83d3-b217b8a92f07 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries enabled TCP port 445 on Mikronika HMI devices creating a new firewall rule named “Microsoft Update”.(Citation: CERT Polska) | relationship--5152ea91-af3f-4317-81ca-b3cf910b471a | 22 April 2026 | 03 September 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0809 | Data Destruction | attack-pattern--493832d9-cea6-4b63-abe7-9a65a6473675 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used DynoWiper and built-in commands to destroy data on Mikronika RTUs, Hitachi Relion Protection and Control Relays (IEDs), and HMI workstations.(Citation: CERT Polska) During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used LazyWiper to destroy data at a manufacturing sector company.(Citation: CERT Polska) | relationship--58fdcdd1-d3e2-43b4-80a8-8f9ba7f967c2 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T1694.001 | Default Credentials | attack-pattern--5658ad88-7510-490e-a351-95d50b1bcd91 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used default credentials to access Hitatchi RTUs, Mikronika RTUs, Hitachi Relion Protection and Control Relays, Mikronika HMI Computers, and Moxa NPort Serial Device Servers.(Citation: CERT Polska) | relationship--b8e71df0-20c4-42b0-8d80-68e93fc084c2 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0816 | Device Restart/Shutdown | attack-pattern--25dfc8ad-bd73-4dfd-84a9-3c3d383f76e9 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries corrupted the firmware in the Hitachi RTUs resulting in a fault that triggered a reboot loop.(Citation: CERT Polska) | relationship--2dd1d205-55e4-4226-9221-5839f2268e57 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0822 | External Remote Services | attack-pattern--8d2f3bab-507c-4424-b58b-edc977bd215c | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries gained initial access by compromising Fortinet edge devices. (Citation: CERT Polska) | relationship--e8a72417-2ff1-4bb7-93c2-17fa0c274d3d | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0823 | Graphical User Interface | attack-pattern--b0628bfc-5376-4a38-9182-f324501cb4cf | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used a graphical user interface (GUI) via the Remote Desktop Protocol (RDP) to access the Mikronika HMI and to execute commands.(Citation: CERT Polska) During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used a graphical user interface (GUI) to connect to the domain controller via the Remote Desktop Protocol (RDP) to collect and exfiltrate data and attempt to destroy data on the system.(Citation: CERT Polska) | relationship--c09375e4-1c59-48f2-9151-f42151263bce | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0827 | Loss of Control | attack-pattern--a81696ef-c106-482c-8f80-59c30f2569fb | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries damaged the Mikronika RTUs, Hitachi Relion Protection and Control Relays (IEDs), and HMI workstations resulting in a loss of communications and control between the facility and the distribution system operators (DSO).(Citation: CERT Polska) | relationship--bdae915d-64f8-4944-949c-59a4d35b70c5 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0829 | Loss of View | attack-pattern--138979ba-0430-4de6-a128-2fc0b056ba36 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries wiped devices and also damaged Mikronika RTUs, Hitachi Relion Protection and Control Relays (IEDs), and HMI workstations resulting in a loss of communications and view between the facility and the distribution system operators (DSO).(Citation: CERT Polska)(Citation: Dragos ELECTRUM JAN 2026) | relationship--2d17672c-ceaf-4fbb-8f3e-a00996b240c8 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0840 | Network Connection Enumeration | attack-pattern--ea0c980c-5cf0-43a7-a049-59c4c207566e | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used `netstat` to enumerate network connections on the Mikronika HMI computers.(Citation: CERT Polska) | relationship--40fdaedd-04b4-42ad-8bea-a0513de65f73 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0846.001 | Port Scan | attack-pattern--5d24bb1d-4487-4923-ae3a-8e679092ac7a | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used Advanced Port Scanner and Advanced IP Scanner to conduct remote system discovery activities.(Citation: CERT Polska) | relationship--387a9ace-17bd-484b-8d54-d3bbc1304c90 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T1701.001 | PowerShell | attack-pattern--e3496d05-0826-4187-a993-80f29aa5a40a | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries executed PowerShell commands on the Human Machine Interface (HMI) to make configuration changes that enabled administrative shares and created a new firewall rule to enable traffic over port 445 as well as conducted network reconnaissance activities.(Citation: CERT Polska) During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries executed PowerShell commands on the domain controller that collected and exfiltrated the SAM and SYSTEM registry hives and the Active Directory database (ntds.dit).(Citation: CERT Polska) | relationship--d9d6acfe-c905-41fd-9e29-8c3b047e4916 | 25 September 2026 | 09 October 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0886 | Remote Services | attack-pattern--e1f9cdd2-9511-4fca-90d7-f3e92cfdd0bf | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries gained initial access to the operational technology via the compromised Fortinet edge devices, and used used SSH, RDP, and SMB/Windows Admin Shares to connect to remote systems and execute commands.(Citation: CERT Polska) | relationship--ee09658b-e384-4693-9318-b1e5d4a2e78a | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0846 | Remote System Discovery | attack-pattern--d5a69cfb-fc2a-46cb-99eb-74b236db5061 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used `nslookup` and `ping` to conduct remote system discovery activities.(Citation: CERT Polska) | relationship--e49fb083-b1aa-4ac9-a99e-7e9ea1542e32 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0888 | Remote System Information Discovery | attack-pattern--2fedbe69-581f-447d-8a78-32ee7db939a9 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries remotely executed commands on systems using [PsExec](https://attack.mitre.org/software/S0029) to gather information about running processes, network connections, routing tables, ARP cache, and contents of user directories.(Citation: CERT Polska) | relationship--fadc8348-837b-4d7d-91a2-679117e5fd7b | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0852 | Screen Capture | attack-pattern--c5e3cdbc-0387-4be9-8f83-ff5c0865f377 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used the `nircmd` utility to capture screenshots of systems.(Citation: CERT Polska) | relationship--57abea59-09c3-496f-a6b9-21c6a0cb9b7a | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T1693.001 | System Firmware | attack-pattern--68a9324d-a524-4766-a899-a026f68a33df | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries corrupted the firmware in the Hitachi RTUs resulting in a fault that triggered a reboot loop.(Citation: CERT Polska) | relationship--73856fa4-5abb-4341-bf51-1874cc1e6c26 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0882 | Theft of Operational Information | attack-pattern--b7e13ee8-182c-4f19-92a4-a88d7d855d54 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries stole sensitive operational information that was used to plan the attack on the operational technology systems.(Citation: CERT Polska) | relationship--e4850ba4-7933-4518-a9af-667cb99ff7f6 | 22 April 2026 | 31 July 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T1701.003 | Unix Shell | attack-pattern--26659f1a-7557-4833-a42e-b6dba9104f4a | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries logged into the Mikronika RTUs via SSH, with root privileges, and executed Linux commands to delete all the files on the system resulting in device failure.(Citation: CERT Polska) | relationship--276f561b-5a3e-496e-a591-d4d465e80e29 | 25 September 2026 | 25 September 2026
C0063 | 2025 Poland Wiper Attacks | campaign--a6aba167-5ada-4812-9da1-912c0e73335d | campaign | uses | T0859 | Valid Accounts | attack-pattern--cd2c76a4-5e23-4ca5-9c40-d5e0604f7101 | technique | During the [2025 Poland Wiper Attacks](https://attack.mitre.org/campaigns/C0063), the adversaries used valid accounts to access Hitatchi RTUs, Mikronika RTUs, Hitachi Relion Protection and Control Relays, Mikronika HMI Computers, and Moxa NPort Serial Device Servers.(Citation: CERT Polska) | relationship--954fc7ef-7e8a-446c-82d1-9798d8c00fbe | 22 April 2026 | 31 July 2026
C0066 | 2026 U.S. Water Utilities Attacks | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | campaign | uses | T0892 | Change Credential | attack-pattern--fab8fc7d-f27f-4fbb-9de6-44740aade05f | technique | During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary remotely accessed internet-facing devices (e.g., MicroLogix 1100 and 1400 controllers, etc.) and changed passwords resulting in loss of monitoring and control for the affected utilities.(Citation: Tenable Minnesota Water Utilities)(Citation: Forescout Water Systems Attack)(Citation: Dragos Water Under Attack)(Citation: FBI Water and Wastewater) | relationship--2c479e7e-422c-4329-8fb9-4484e2fdbf9c | 08 October 2026 | 08 October 2026
C0066 | 2026 U.S. Water Utilities Attacks | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | campaign | uses | T1694.001 | Default Credentials | attack-pattern--5658ad88-7510-490e-a351-95d50b1bcd91 | technique | During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary logged in to internet-exposed PLCs using default credentials.(Citation: Tenable Minnesota Water Utilities) | relationship--7050acd5-637b-4581-b58e-dcfac3eb1bb5 | 08 October 2026 | 08 October 2026
C0066 | 2026 U.S. Water Utilities Attacks | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | campaign | uses | T0813 | Denial of Control | attack-pattern--e33c7ecc-5a38-497f-beb2-a9a2049a4c20 | technique | During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary denied operators the ability to control their systems by shutting down and disabling computerized water plant controls via malware over a wireless connection.(Citation: Tenable Minnesota Water Utilities)(Citation: Forescout Water Systems Attack)(Citation: Dragos Water Under Attack) | relationship--19dee45d-8c24-41ac-976f-aeb221c4f658 | 08 October 2026 | 09 October 2026
C0066 | 2026 U.S. Water Utilities Attacks | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | campaign | uses | T0883 | Internet Accessible Device | attack-pattern--f8df6b57-14bc-425f-9a91-6f59f6799307 | technique | During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary located internet-exposed PLCs (e.g., Rockwell Automation/Allen-Bradley MicroLogix 1100 and 1400 PLCs, etc.) at water and wastewater utilities, including cellular-connected water towers and sewer lift stations, and logged in to them directly.(Citation: Tenable Minnesota Water Utilities)(Citation: Forescout Water Systems Attack)(Citation: FBI Water and Wastewater) | relationship--ef91b940-b3ea-4403-ba03-c71b8dcc8763 | 08 October 2026 | 09 October 2026
C0066 | 2026 U.S. Water Utilities Attacks | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | campaign | uses | T0826 | Loss of Availability | attack-pattern--b5b9bacb-97f2-4249-b804-47fd44de1f95 | technique | During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary temporarily shut down the well and water treatment plant, causing loss of cellular connectivity across multiple sites interrupting the service the plant provides leading operators to revert to manual operations.(Citation: Tenable Minnesota Water Utilities)(Citation: Dragos Water Under Attack) During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary caused loss of water pressure and flooding at affected water and wastewater utilities.(Citation: FBI Water and Wastewater) | relationship--e0152ca1-4ad2-4dce-9231-cad70c802d62 | 08 October 2026 | 09 October 2026
C0066 | 2026 U.S. Water Utilities Attacks | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | campaign | uses | T0827 | Loss of Control | attack-pattern--a81696ef-c106-482c-8f80-59c30f2569fb | technique | During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary changed passwords on internet-facing MicroLogix controllers, locking out operators, and causing water and wastewater utilities to lose control of their equipment (e.g., controllers, water towers, lift stations).(Citation: Tenable Minnesota Water Utilities)(Citation: Forescout Water Systems Attack)(Citation: Dragos Water Under Attack)(Citation: FBI Water and Wastewater) | relationship--862d5dbb-4582-4a9b-877a-e323233b53fe | 08 October 2026 | 09 October 2026
C0066 | 2026 U.S. Water Utilities Attacks | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | campaign | uses | T0829 | Loss of View | attack-pattern--138979ba-0430-4de6-a128-2fc0b056ba36 | technique | During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary changed passwords on internet-facing MicroLogix controllers, causing the affected utilities to lose monitoring of their equipment (e.g., water tower, lift station, etc.).(Citation: Tenable Minnesota Water Utilities)(Citation: Forescout Water Systems Attack)(Citation: Dragos Water Under Attack)(Citation: FBI Water and Wastewater) | relationship--50a10bc7-950b-4a12-aeaf-52a7b013efc2 | 08 October 2026 | 09 October 2026
C0066 | 2026 U.S. Water Utilities Attacks | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | campaign | uses | T0836 | Modify Parameter | attack-pattern--097924ce-a9a9-4039-8591-e0deedfb8722 | technique | During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary changed the IP addresses of internet-facing MicroLogix controllers, altering their network configuration settings outside normal operations.(Citation: Tenable Minnesota Water Utilities)(Citation: Forescout Water Systems Attack)(Citation: Dragos Water Under Attack)(Citation: FBI Water and Wastewater) | relationship--ce4d77f4-6b9f-435f-94ca-52bc4a90522b | 08 October 2026 | 09 October 2026
C0066 | 2026 U.S. Water Utilities Attacks | campaign--5cae2d7e-ce03-4a20-b7a7-32e846d26121 | campaign | uses | T0889 | Modify Program | attack-pattern--fc5fda7e-6b2c-4457-b036-759896a2efa2 | technique | During the [2026 U.S. Water Utilities Attacks](https://attack.mitre.org/campaigns/C0066), the adversary altered the control logic (e.g., project files) of internet-exposed PLCs, producing ladder logic discrepancies, changing how the affected controller interacted with its process, after gaining access through default credentials.(Citation: Tenable Minnesota Water Utilities)(Citation: Forescout Water Systems Attack)(Citation: FBI Water and Wastewater) | relationship--e060820a-5a37-4abe-b27e-e157f2d6fa27 | 08 October 2026 | 09 October 2026
C0041 | FrostyGoop Incident | campaign--1169ff24-b35f-4d8d-8cf3-643a2834227f | campaign | uses | T0826 | Loss of Availability | attack-pattern--b5b9bacb-97f2-4249-b804-47fd44de1f95 | technique | During [FrostyGoop Incident](https://attack.mitre.org/campaigns/C0041), the adversary modified victim control system parameters resulting in the loss of heating services to impacted district heating customers.(Citation: Dragos FROSTYGOOP 2024) | relationship--f7c641d2-3528-4b4a-9612-85827eb0fff8 | 20 November 2024 | 31 July 2026
C0041 | FrostyGoop Incident | campaign--1169ff24-b35f-4d8d-8cf3-643a2834227f | campaign | uses | T0829 | Loss of View | attack-pattern--138979ba-0430-4de6-a128-2fc0b056ba36 | technique | During [FrostyGoop Incident](https://attack.mitre.org/campaigns/C0041), the adversary initiated a firmware downgrade on victim devices to a version lacking monitoring.(Citation: Dragos FROSTYGOOP 2024) | relationship--e7c3b02a-a932-4561-b812-5cfadd7f9b2f | 20 November 2024 | 31 July 2026
C0041 | FrostyGoop Incident | campaign--1169ff24-b35f-4d8d-8cf3-643a2834227f | campaign | uses | T0836 | Modify Parameter | attack-pattern--097924ce-a9a9-4039-8591-e0deedfb8722 | technique | In [FrostyGoop Incident](https://attack.mitre.org/campaigns/C0041), the adversary caused the victim controllers to report incorrect measurements by modifying parameters.(Citation: Dragos FROSTYGOOP 2024) | relationship--3f261739-b6ec-4a86-94a3-146929f9facf | 20 November 2024 | 31 July 2026
C0041 | FrostyGoop Incident | campaign--1169ff24-b35f-4d8d-8cf3-643a2834227f | campaign | uses | T1693.001 | System Firmware | attack-pattern--68a9324d-a524-4766-a899-a026f68a33df | technique | During [FrostyGoop Incident](https://attack.mitre.org/campaigns/C0041), the adversary initiated a firmware downgrade on impacted devices.(Citation: Dragos FROSTYGOOP 2024) | relationship--8d0793f1-e818-4632-8fb6-8c4aa5c7f073 | 20 November 2024 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0878 | Alarm Suppression | attack-pattern--2900bbd8-308a-4274-b074-5b8bde8347bc | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary suppressed alarm reporting to the central computer.(Citation: Marshall Abrams July 2008) | relationship--c1154a56-6f5f-4760-8b34-79b0e8a79c1f | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T1692.001 | Command Message | attack-pattern--4344d1b8-968b-4697-9ab9-f9abe5f52265 | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary used a dedicated analog two-way radio system to send false data and instructions to pumping stations and the central computer.(Citation: Marshall Abrams July 2008) | relationship--41856149-91d5-4815-b50f-8eb371ac5ba6 | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0879 | Damage to Property | attack-pattern--83ebd22f-b401-4d59-8219-2294172cf916 | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary gained remote computer access to the control system and altered data so that whatever function should have occurred at affected pumping stations did not occur or occurred in a different way. This ultimately led to 800,000 liters of raw sewage being spilled out into the community. The raw sewage affected local parks, rivers, and even a local hotel. This resulted in harm to marine life and produced a sickening stench from the community's affected rivers.(Citation: Marshall Abrams July 2008) | relationship--642cae89-bb5c-46f3-9fea-8d747b930c35 | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0813 | Denial of Control | attack-pattern--e33c7ecc-5a38-497f-beb2-a9a2049a4c20 | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary temporarily shut an investigator out of the network preventing them from issuing any controls.(Citation: Marshall Abrams July 2008) | relationship--adf2072c-0341-4fc2-9d25-495b4af864e9 | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0815 | Denial of View | attack-pattern--56ddc820-6cfb-407f-850b-52c035d123ac | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary temporarily shut an investigator out of the network, preventing them from viewing the state of the system.(Citation: Marshall Abrams July 2008) | relationship--e0da1f92-82b1-4096-86c4-1aef58ca89fb | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0822 | External Remote Services | attack-pattern--8d2f3bab-507c-4424-b58b-edc977bd215c | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary gained remote computer access to the system over radio.(Citation: Marshall Abrams July 2008) | relationship--245c8c36-28e5-4508-a585-7768cb33299a | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0838 | Modify Alarm Settings | attack-pattern--e5de767e-f513-41cd-aa15-33f6ce5fbf92 | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary disabled alarms at four pumping stations, preventing notifications to the central computer.(Citation: Marshall Abrams July 2008) | relationship--268b9429-b1c6-4bc3-84cf-8512e8ef57a7 | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0836 | Modify Parameter | attack-pattern--097924ce-a9a9-4039-8591-e0deedfb8722 | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary gained remote computer access to the control system and altered data so that whatever function should have occurred at affected pumping stations did not occur or occurred in a different way. The software program installed in the laptop was one developed for changing configurations in the PDS computers. This ultimately led to 800,000 liters of raw sewage being spilled out into the community.(Citation: Marshall Abrams July 2008) | relationship--668f8c4b-225a-4287-ac5b-7717a4f75b5d | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T1692.002 | Reporting Message | attack-pattern--527106b3-95a2-4ed2-bf89-db7f0e4d0da0 | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary used a dedicated analog two-way radio system to send false data and instructions to pumping stations and the central computer.(Citation: Marshall Abrams July 2008) | relationship--07ccd2e1-d4fa-44ff-8d42-95a0942f89d6 | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0848 | Rogue Master | attack-pattern--b14395bd-5419-4ef4-9bd8-696936f509bb | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary falsified network addresses in order to send false data and instructions to pumping stations.(Citation: Marshall Abrams July 2008) | relationship--b4efcbe0-ffe3-4d9a-8dba-570e68494af1 | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0864 | Transient Cyber Asset | attack-pattern--35392fb4-a31d-4c6a-b9f2-1c65b7f5e6b9 | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary utilized a computer, possibly stolen, with proprietary engineering software to communicate with a wastewater system.(Citation: Marshall Abrams July 2008) | relationship--59cb471f-ad8b-464f-ab8f-c267f329b0dc | 10 March 2023 | 31 July 2026
C0020 | Maroochy Water Breach | campaign--70cab19e-1745-425e-b3db-c02cd5ff157a | campaign | uses | T0860 | Wireless Compromise | attack-pattern--2877063e-1851-48d2-bcc6-bc1d2733157e | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary used a two-way radio to communicate with and set the frequencies of Maroochy Shire's repeater stations.(Citation: Marshall Abrams July 2008) | relationship--ae7ed6d8-65cc-45a0-82c3-c28e5630bf7c | 10 March 2023 | 31 July 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T0830 | Adversary-in-the-Middle | attack-pattern--9a505987-ab05-4f46-a9a6-6441442eec3b | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088) changed phone numbers tied to certain specific accounts in a designated contact list. They then used the changed phone numbers to redirect network traffic to websites controlled by them, thereby allowing them to capture and use any login codes sent to the devices via text message.(Citation: Triton-EENews-2017) | relationship--03b4dae7-3b20-4ea9-9f7c-6c97582f98b7 | 28 March 2024 | 31 July 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T1692.001 | Command Message | attack-pattern--4344d1b8-968b-4697-9ab9-f9abe5f52265 | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088) leveraged [Triton](https://attack.mitre.org/software/S1009) to send unauthorized command messages to the Triconex safety controllers.(Citation: FireEye TRITON 2018) | relationship--73eaa82f-9ab0-430d-86b8-64ea85b18c91 | 28 March 2024 | 31 July 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T1701 | Command and Scripting Interpreter | attack-pattern--abc2529d-70c0-4971-b25f-0dce8cffb427 | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088)’ tool took one option from the command line, which was a single IP address of the target Triconex device.(Citation: FireEye TRITON Dec 2017) | relationship--c8d9d10f-bf72-4340-a613-fa08f2dde557 | 25 September 2026 | 25 September 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T0872 | Indicator Removal on Host | attack-pattern--53a26eee-1080-4d17-9762-2027d5a1b805 | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088) would programmatically return the controller to a normal running state if the [Triton](https://attack.mitre.org/software/S1009) malware failed. If the controller could not recover in a defined time window, [TEMP.Veles](https://attack.mitre.org/groups/G0088) programmatically overwrote their malicious program with invalid data.(Citation: FireEye TRITON Dec 2017) | relationship--b05d678b-4d87-4261-9366-f8b757a77661 | 28 March 2024 | 31 July 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T0867 | Lateral Tool Transfer | attack-pattern--ead7bd34-186e-4c79-9a4d-b65bcce6ed9d | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088) made attempts on multiple victim machines to transfer and execute the WMImplant tool.(Citation: FireEye TEMP.Veles 2018) | relationship--c137fcd2-ce51-4e17-9c2f-f1aaf9b64ce7 | 28 March 2024 | 03 September 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T0828 | Loss of Productivity and Revenue | attack-pattern--63b6942d-8359-4506-bfb3-cf87aa8120ee | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088) tripped a controller into a failed safe state, which caused an automatic shutdown of the plant, this resulted in a pause of plant operations for more than a week. Thereby impacting industrial processes and halting productivity.(Citation: FireEye TRITON Dec 2017) | relationship--5beda54d-cd1f-491b-a85e-d7618a0683ad | 28 March 2024 | 31 July 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T1701.001 | PowerShell | attack-pattern--e3496d05-0826-4187-a993-80f29aa5a40a | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088) used a publicly available PowerShell-based tool, WMImplant.(Citation: FireEye TEMP.Veles 2018) | relationship--8af19674-6836-4d21-abfc-593252b282cb | 25 September 2026 | 25 September 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T0843.003 | Program Append | attack-pattern--574d5bfb-9a7a-4b28-ab5c-743ac704c135 | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088) downloaded multiple rounds of control logic to the Safety Instrumented System (SIS) controllers through a program append operation.(Citation: FireEye TRITON Dec 2017) | relationship--adf230b9-b622-473e-b7f4-6ea2dd13ab43 | 23 April 2026 | 31 July 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T0886 | Remote Services | attack-pattern--e1f9cdd2-9511-4fca-90d7-f3e92cfdd0bf | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088) utilized remote desktop protocol (RDP) jump boxes, poorly configured OT firewalls (Citation: Triton-EENews-2017), along with other traditional malware backdoors, to move into the ICS environment.(Citation: FireEye TRITON 2018)(Citation: Triton-EENews-2017) | relationship--cd6f1ca4-aaec-451d-b855-55cdb0c3dde8 | 28 March 2024 | 31 July 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | uses | T0859 | Valid Accounts | attack-pattern--cd2c76a4-5e23-4ca5-9c40-d5e0604f7101 | technique | In the [Triton Safety Instrumented System Attack](https://attack.mitre.org/campaigns/C0030), [TEMP.Veles](https://attack.mitre.org/groups/G0088) used valid credentials when laterally moving through RDP jump boxes into the ICS environment.(Citation: FireEye TRITON 2018) | relationship--bf0e7347-1636-4b5e-9e2a-8b93177e5f85 | 28 March 2024 | 31 July 2026
C0031 | Unitronics Defacement Campaign | campaign--8fda050f-470d-4401-994e-35c1a6c301de | campaign | uses | T1694.001 | Default Credentials | attack-pattern--5658ad88-7510-490e-a351-95d50b1bcd91 | technique | During the [Unitronics Defacement Campaign](https://attack.mitre.org/campaigns/C0031), the [CyberAv3ngers](https://attack.mitre.org/groups/G1027) discovered and exploited default credentials found on many Unitronics [Programmable Logic Controller (PLC)](https://attack.mitre.org/assets/A0003) [Human-Machine Interface (HMI)](https://attack.mitre.org/assets/A0002). For many of these devices, the default password was set to ‘1111’.(Citation: CISA AA23-335A IRGC-Affiliated December 2023)(Citation: CISA Unitronics November 2023) | relationship--aabf71ab-4121-4e3e-888d-cc16d2133846 | 25 March 2024 | 31 July 2026
C0031 | Unitronics Defacement Campaign | campaign--8fda050f-470d-4401-994e-35c1a6c301de | campaign | uses | T0814 | Denial of Service | attack-pattern--1b22b676-9347-4c55-9a35-ef0dc653db5b | technique | During the [Unitronics Defacement Campaign](https://attack.mitre.org/campaigns/C0031), the [CyberAv3ngers](https://attack.mitre.org/groups/G1027) defaced controllers’ [Human-Machine Interface (HMI)](https://attack.mitre.org/assets/A0002), which prevented multiple entities from being able to operate their devices normally.(Citation: CISA AA23-335A IRGC-Affiliated December 2023)(Citation: CISA Unitronics November 2023)(Citation: Jamie Tarabay and Katrina Manson December 2023)(Citation: Frank Bajak and Marc Levy December 2023) Additionally, the [CyberAv3ngers](https://attack.mitre.org/groups/G1027) caused a communications failure in a remote pumping station.(Citation: WPXI Aliquippa Water November 2023) | relationship--18ab56e8-79ce-481d-9ab4-e558fbfb5ac5 | 25 March 2024 | 31 July 2026
C0031 | Unitronics Defacement Campaign | campaign--8fda050f-470d-4401-994e-35c1a6c301de | campaign | uses | T0883 | Internet Accessible Device | attack-pattern--f8df6b57-14bc-425f-9a91-6f59f6799307 | technique | During the [Unitronics Defacement Campaign](https://attack.mitre.org/campaigns/C0031), the [CyberAv3ngers](https://attack.mitre.org/groups/G1027) exploited devices connected to the public internet, such as internet connected Unitronics [Programmable Logic Controller (PLC)](https://attack.mitre.org/assets/A0003) with [Human-Machine Interface (HMI)](https://attack.mitre.org/assets/A0002) and networking equipment such as cellular modems found in OT environments.(Citation: CISA AA23-335A IRGC-Affiliated December 2023)(Citation: Lisa Zahner December 2023) | relationship--6b0e8f60-ecdf-4140-9741-5b50df67353c | 25 March 2024 | 31 July 2026
C0031 | Unitronics Defacement Campaign | campaign--8fda050f-470d-4401-994e-35c1a6c301de | campaign | uses | T0826 | Loss of Availability | attack-pattern--b5b9bacb-97f2-4249-b804-47fd44de1f95 | technique | During the [Unitronics Defacement Campaign](https://attack.mitre.org/campaigns/C0031), the [CyberAv3ngers](https://attack.mitre.org/groups/G1027) caused multiple businesses to halt operations due to the unavailability of the [Programmable Logic Controller (PLC)](https://attack.mitre.org/assets/A0003) and [Human-Machine Interface (HMI)](https://attack.mitre.org/assets/A0002). These victims covered multiple sectors.(Citation: Jamie Tarabay and Katrina Manson December 2023) | relationship--1673b2e2-7799-4b5f-b5a9-2c51426a6916 | 25 March 2024 | 31 July 2026
C0031 | Unitronics Defacement Campaign | campaign--8fda050f-470d-4401-994e-35c1a6c301de | campaign | uses | T0828 | Loss of Productivity and Revenue | attack-pattern--63b6942d-8359-4506-bfb3-cf87aa8120ee | technique | During the [Unitronics Defacement Campaign](https://attack.mitre.org/campaigns/C0031), the [CyberAv3ngers](https://attack.mitre.org/groups/G1027) caused multiple businesses to halt operations in their industrial environments, impacting their typical business operations. These victims covered multiple sectors.(Citation: Jamie Tarabay and Katrina Manson December 2023) | relationship--d67ae959-9014-4501-b963-42bee03a5e3b | 25 March 2024 | 31 July 2026
C0031 | Unitronics Defacement Campaign | campaign--8fda050f-470d-4401-994e-35c1a6c301de | campaign | uses | T0829 | Loss of View | attack-pattern--138979ba-0430-4de6-a128-2fc0b056ba36 | technique | During the [Unitronics Defacement Campaign](https://attack.mitre.org/campaigns/C0031), the [CyberAv3ngers](https://attack.mitre.org/groups/G1027) replaced the existing graphic on the [Programmable Logic Controller (PLC)](https://attack.mitre.org/assets/A0003) [Human-Machine Interface (HMI)](https://attack.mitre.org/assets/A0002) with their own, thereby preventing PLC owners and operators from viewing PLC information on the HMI.(Citation: CISA AA23-335A IRGC-Affiliated December 2023)(Citation: Jamie Tarabay and Katrina Manson December 2023) | relationship--69889c90-e6d0-4007-9078-2bfbd7c18a91 | 25 March 2024 | 31 July 2026

## attributed groups
source ID | source name | source ref | source type | mapping type | target ID | target name | target ref | target type | mapping description | STIX ID | created | last modified
C0028 | 2015 Ukraine Electric Power Attack | campaign--46421788-b6e1-4256-b351-f8beffd1afba | campaign | attributed-to | G0034 | Sandworm Team | intrusion-set--381fcf73-60f6-4ab2-9991-6af3cbc35192 | group | (Citation: Andy Greenberg June 2017) (Citation: US District Court Indictment GRU Unit 74455 October 2020) | relationship--4d407dda-944a-4974-b1c2-0a04d2c9ee4c | 27 September 2023 | 04 August 2026
C0025 | 2016 Ukraine Electric Power Attack | campaign--aa73efef-1418-4dbe-b43c-87a498e97234 | campaign | attributed-to | G0034 | Sandworm Team | intrusion-set--381fcf73-60f6-4ab2-9991-6af3cbc35192 | group | (Citation: US District Court Indictment GRU Unit 74455 October 2020)(Citation: Joe Slowik August 2019) | relationship--90647f03-38a4-4364-a3af-53640a81360e | 31 March 2023 | 31 July 2026
C0034 | 2022 Ukraine Electric Power Attack | campaign--df8eb785-70f8-4300-b444-277ba849083d | campaign | attributed-to | G0034 | Sandworm Team | intrusion-set--381fcf73-60f6-4ab2-9991-6af3cbc35192 | group | (Citation: Mandiant-Sandworm-Ukraine-2022)(Citation: Dragos-Sandworm-Ukraine-2022) | relationship--d3717846-eaab-4fde-99f6-a972dec9323b | 27 March 2024 | 31 July 2026
C0030 | Triton Safety Instrumented System Attack | campaign--45a98f02-852f-49b2-94c0-c63207bebbbf | campaign | attributed-to | G0088 | TEMP.Veles | intrusion-set--9538b1a4-4120-4e2d-bf59-3b11fcab05a4 | group | (Citation: FireEye TEMP.Veles 2018)(Citation: FireEye TRITON Dec 2017) | relationship--538e5653-137a-4ce2-8b08-5ba69caa794a | 25 March 2024 | 31 July 2026
C0031 | Unitronics Defacement Campaign | campaign--8fda050f-470d-4401-994e-35c1a6c301de | campaign | attributed-to | G1027 | CyberAv3ngers | intrusion-set--a07a367a-146c-45a8-a830-d3d337b9befa | group | (Citation: CISA AA23-335A IRGC-Affiliated December 2023) | relationship--9a55e351-d3b7-460a-9a9d-6714c00db5f0 | 25 March 2024 | 31 July 2026

## citations
reference | citation | url
AI-Mexico-Govt-Breach | Eyal Sela. (2026, April). The AI-Assisted Breach of Mexico's Government Infrastructure. Retrieved September 2, 2026. | https://cdn.prod.website-files.com/69944dd945f20ca4a27a7c47/69d8bb5aea59e31efb3b8a7f_Tech_Report_ai_breach_mex_gov.pdf
Andy Greenberg June 2017 | Andy Greenberg. (2017, June 28). How an Entire Nation Became Russia's Test Lab for Cyberwar. Retrieved September 27, 2023. | https://www.wired.com/story/russian-hackers-attack-ukraine/
Booz Allen Hamilton | Booz Allen Hamilton. (2016). When The Lights Went Out. Retrieved December 18, 2024. | https://www.boozallen.com/content/dam/boozallen/documents/2016/09/ukraine-report-when-the-lights-went-out.pdf
CERT Polska | CERT Polska. (2026, January 30). Energy Sector Incident Report – 29 December. Retrieved April 22, 2026. | https://cert.pl/uploads/docs/CERT_Polska_Energy_Sector_Incident_Report_2025.pdf
CISA AA23-335A IRGC-Affiliated December 2023 | DHS/CISA. (2023, December 1). IRGC-Affiliated Cyber Actors Exploit PLCs in Multiple Sectors, Including U.S. Water and Wastewater Systems Facilities. Retrieved March 25, 2024. | https://www.cisa.gov/news-events/cybersecurity-advisories/aa23-335a
CISA Unitronics November 2023 | DHS/CISA. (2023, November 28). Exploitation of Unitronics PLCs used in Water and Wastewater Systems. Retrieved March 25, 2024. | https://www.cisa.gov/news-events/alerts/2023/11/28/exploitation-unitronics-plcs-used-water-and-wastewater-systems
Charles McLellan March 2016 | Charles McLellan. (2016, March 4). How hackers attacked Ukraine's power grid: Implications for Industrial IoT security. Retrieved September 27, 2023. | https://www.zdnet.com/article/how-hackers-attacked-ukraines-power-grid-implications-for-industrial-iot-security/
Dragos Crashoverride 2018 | Joe Slowik. (2018, October 12). Anatomy of an Attack: Detecting and Defeating CRASHOVERRIDE. Retrieved December 18, 2020. | https://www.dragos.com/wp-content/uploads/CRASHOVERRIDE2018.pdf
Dragos ELECTRUM JAN 2026 | https://5943619.hs-sites.com/hubfs/Reports/dragos-2025-poland-attack-report.pdf. (2026, January). ELECTRUM: CYBER ATTACK ON POLAND’S ELECTRIC SYSTEM 2025. Retrieved April 22, 2026. | https://5943619.hs-sites.com/hubfs/Reports/dragos-2025-poland-attack-report.pdf
Dragos FROSTYGOOP 2024 | Mark Graham, Carolyn Ahlers, Kyle O'Meara; Dragos. (2024, July). Impact of FrostyGoop ICS Malware on Connected OT Systems. Retrieved November 20, 2024. | https://hub.dragos.com/hubfs/Reports/Dragos-FrostyGoop-ICS-Malware-Intel-Brief-0724_r2.pdf
Dragos Water Under Attack | Michael Rothschild. (2026, August 13). Water Under Attack: A Decade of Warnings, and the Same Gaps Still Open. Retrieved October 8, 2026. | https://www.dragos.com/blog/water-utility-attacks-decade-of-gaps
Dragos-Sandworm-Ukraine-2022 | Dragos, Inc.. (2023, December 11). ELECTRUM Targeted Ukrainian Electric Entity Using Custom Tools and CaddyWiper Malware, October 2022. Retrieved March 28, 2024. | https://www.dragos.com/blog/new-details-electrum-ukraine-electric-sector-compromise-2022/
ESET Industroyer | Anton Cherepanov. (2017, June 12). Win32/Industroyer: A new threat for industrial controls systems. Retrieved December 18, 2020. | https://www.welivesecurity.com/wp-content/uploads/2017/06/Win32_Industroyer.pdf
FBI Water and Wastewater | FBI Press Office. (2026, July 30). Malicious Cyber Actors Targeting Water and Wastewater Sector Internet- Facing Programmable Logic Controllers, Causing Operational Disruptions. Retrieved October 8, 2026. | https://www.fbi.gov/investigate/cyber/alerts/2026/malicious-cyber-actors-targeting-water-and-wastewater-sector-internet--facing-programmable-logic-controllers-causing-operational-disruptions
FireEye TEMP.Veles 2018 | FireEye Intelligence . (2018, October 23). TRITON Attribution: Russian Government-Owned Lab Most Likely Built Custom Intrusion Tools for TRITON Attackers. Retrieved April 16, 2019. | https://web.archive.org/web/20190202205824/https://www.fireeye.com/blog/threat-research/2018/10/triton-attribution-russian-government-owned-lab-most-likely-built-tools.html
FireEye TRITON 2018 | Miller, S. Reese, E. (2018, June 7). A Totally Tubular Treatise on TRITON and TriStation. Retrieved November 17, 2024. | https://web.archive.org/web/20200618231942/https://www.fireeye.com/blog/threat-research/2018/06/totally-tubular-treatise-on-triton-and-tristation.html
FireEye TRITON Dec 2017 | Blake Johnson, Dan Caban, Marina Krotofil, Dan Scali, Nathan Brubaker, Christopher Glyer. (2017, December 14). Attackers Deploy New ICS Attack Framework “TRITON” and Cause Operational Disruption to Critical Infrastructure. Retrieved January 12, 2018. | https://www.fireeye.com/blog/threat-research/2017/12/attackers-deploy-new-ics-attack-framework-triton.html
Forescout Water Systems Attack | Sai Molige. (2026, August 5). OT Security Analysis: Exposed Devices Attacked in US Water Systems. Retrieved October 8, 2026. | https://www.forescout.com/blog/ot-security-analysis-exposed-devices-attacked-in-us-water-systems/
Frank Bajak and Marc Levy December 2023 | Frank Bajak and Marc Levy. (2023, December 2). Breaches by Iran-affiliated hackers spanned multiple U.S. states, federal agencies say. Retrieved March 25, 2024. | https://apnews.com/article/hackers-iran-israel-water-utilities-critical-infrastructure-cisa-554b2aa969c8220016ab2ef94bd7635b
Jamie Tarabay and Katrina Manson December 2023 | Jamie Tarabay and Katrina Manson. (2023, December 22). Iranian-Linked Hacks Expose Failure to Safeguard US Water System. Retrieved March 25, 2024. | https://www.bloomberg.com/news/articles/2023-12-22/iranian-linked-hacks-expose-failure-to-safeguard-us-water-system
Joe Slowik August 2019 | Joe Slowik 2019, August 15 CRASHOVERRIDE: Reassessing the 2016 Ukraine Electric Power Event as a Protection-Focused Attack Retrieved. 2019/10/22 | https://dragos.com/wp-content/uploads/CRASHOVERRIDE.pdf
Lisa Zahner December 2023 | Lisa Zahner. (2023, December 15). Hackers in Iran attack computer at Vero Utilities. Retrieved March 25, 2024. | https://veronews.com/2023/12/15/hackers-in-iran-attack-computer-at-vero-utilities/
Mandiant-Sandworm-Ukraine-2022 | Ken Proska, John Wolfram, Jared Wilson, Dan Black, Keith Lunden, Daniel Kapellmann Zafra, Nathan Brubaker, Tyler Mclellan, Chris Sistrunk. (2023, November 9). Sandworm Disrupts Power in Ukraine Using a Novel Attack Against Operational Technology. Retrieved March 28, 2024. | https://www.mandiant.com/resources/blog/sandworm-disrupts-power-ukraine-operational-technology
Marshall Abrams July 2008 | Marshall Abrams 2008, July 23 Malicious Control System Cyber Security Attack Case Study Maroochy Water Services, Australia Retrieved. 2018/03/27 | https://www.mitre.org/sites/default/files/pdf/08_1145.pdf
Tenable Minnesota Water Utilities | Research Special Operations. (2026, July 28). Coordinated "cyberattack" on U.S. water utilities: What you need to know. Retrieved September 26, 2026. | https://www.tenable.com/blog/coordinated-cyberattack-on-minnesota-water-utilities-what-you-need-to-know
Triton-EENews-2017 | Blake Sobczak. (2019, March 7). The inside story of the world’s most dangerous malware. Retrieved March 25, 2024. | https://www.eenews.net/articles/the-inside-story-of-the-worlds-most-dangerous-malware/
US District Court Indictment GRU Unit 74455 October 2020 | Scott W. Brady. (2020, October 15). United States vs. Yuriy Sergeyevich Andrienko et al.. Retrieved November 25, 2020. | https://www.justice.gov/opa/press-release/file/1328521/download
Ukraine15 - EISAC - 201603 | Electricity Information Sharing and Analysis Center; SANS Industrial Control Systems. (2016, March 18). Analysis of the Cyber Attack on the Ukranian Power Grid: Defense Use Case. Retrieved March 27, 2018. | https://nsarchive.gwu.edu/sites/default/files/documents/3891751/SANS-and-Electricity-Information-Sharing-and.pdf
WPXI Aliquippa Water November 2023 | WPXI. (2023, November 27). Officials investigating cyberattack on Municipal Water Authority of Aliquippa. Retrieved March 25, 2024. | https://www.wpxi.com/news/local/officials-investigating-cyberattack-municipal-water-authority-aliquippa/K5A3BEW35RAXJPMNHNE35RZ7WA/
Dragos FROSTYGOOP 2024 | Mark Graham, Carolyn Ahlers, Kyle O'Meara; Dragos. (2024, July). Impact of FrostyGoop ICS Malware on Connected OT Systems. Retrieved November 20, 2024. | https://hub.dragos.com/hubfs/Reports/Dragos-FrostyGoop-ICS-Malware-Intel-Brief-0724_r2.pdf
Nozomi BUSTLEBERM 2024 | Nozomi Networks Labs. (2024, July 24). Cyberwarfare Targeting OT: Protecting Against FrostyGoop/BUSTLEBERM Malware. Retrieved November 20, 2024. | https://www.nozominetworks.com/blog/protecting-against-frostygoop-bustleberm-malware
Triton-EENews-2017 | Blake Sobczak. (2019, March 7). The inside story of the world’s most dangerous malware. Retrieved March 25, 2024. | https://www.eenews.net/articles/the-inside-story-of-the-worlds-most-dangerous-malware/
FireEye TRITON 2017 | Johnson, B, et. al. (2017, December 14). Attackers Deploy New ICS Attack Framework "TRITON" and Cause Operational Disruption to Critical Infrastructure. Retrieved January 6, 2021. | https://www.fireeye.com/blog/threat-research/2017/12/attackers-deploy-new-ics-attack-framework-triton.html
FireEye TRITON 2018 | Miller, S. Reese, E. (2018, June 7). A Totally Tubular Treatise on TRITON and TriStation. Retrieved November 17, 2024. | https://web.archive.org/web/20200618231942/https://www.fireeye.com/blog/threat-research/2018/06/totally-tubular-treatise-on-triton-and-tristation.html
Booz Allen Hamilton | Booz Allen Hamilton. (2016). When The Lights Went Out. Retrieved December 18, 2024. | https://www.boozallen.com/content/dam/boozallen/documents/2016/09/ukraine-report-when-the-lights-went-out.pdf
Marshall Abrams July 2008 | Marshall Abrams 2008, July 23 Malicious Control System Cyber Security Attack Case Study Maroochy Water Services, Australia Retrieved. 2018/03/27 | https://www.mitre.org/sites/default/files/pdf/08_1145.pdf
CISA AA23-335A IRGC-Affiliated December 2023 | DHS/CISA. (2023, December 1). IRGC-Affiliated Cyber Actors Exploit PLCs in Multiple Sectors, Including U.S. Water and Wastewater Systems Facilities. Retrieved March 25, 2024. | https://www.cisa.gov/news-events/cybersecurity-advisories/aa23-335a
Frank Bajak and Marc Levy December 2023 | Frank Bajak and Marc Levy. (2023, December 2). Breaches by Iran-affiliated hackers spanned multiple U.S. states, federal agencies say. Retrieved March 25, 2024. | https://apnews.com/article/hackers-iran-israel-water-utilities-critical-infrastructure-cisa-554b2aa969c8220016ab2ef94bd7635b
Lisa Zahner December 2023 | Lisa Zahner. (2023, December 15). Hackers in Iran attack computer at Vero Utilities. Retrieved March 25, 2024. | https://veronews.com/2023/12/15/hackers-in-iran-attack-computer-at-vero-utilities/
CERT Polska | CERT Polska. (2026, January 30). Energy Sector Incident Report – 29 December. Retrieved April 22, 2026. | https://cert.pl/uploads/docs/CERT_Polska_Energy_Sector_Incident_Report_2025.pdf
ESET DynoWiper Update JAN 2026 | ESET. (2026, January 30). DynoWiper update: Technical analysis and attribution. Retrieved April 22, 2026. | https://www.welivesecurity.com/en/eset-research/dynowiper-update-technical-analysis-attribution/
ESET DynoWiper JAN 2026 | ESET. (2026, January 30). Russian Sandworm group attacks energy company in Poland with DynoWiper, ESET Research discovers. Retrieved April 22, 2026. | https://www.eset.com/us/about/newsroom/research/eset-research-russian-sandwormapt-attacks-energy-company-poland-with-dynowiper/
Dragos ELECTRUM JAN 2026 | https://5943619.hs-sites.com/hubfs/Reports/dragos-2025-poland-attack-report.pdf. (2026, January). ELECTRUM: CYBER ATTACK ON POLAND’S ELECTRIC SYSTEM 2025. Retrieved April 22, 2026. | https://5943619.hs-sites.com/hubfs/Reports/dragos-2025-poland-attack-report.pdf
ESET Industroyer | Anton Cherepanov. (2017, June 12). Win32/Industroyer: A new threat for industrial controls systems. Retrieved December 18, 2020. | https://www.welivesecurity.com/wp-content/uploads/2017/06/Win32_Industroyer.pdf
Dragos Crashoverride 2018 | Joe Slowik. (2018, October 12). Anatomy of an Attack: Detecting and Defeating CRASHOVERRIDE. Retrieved December 18, 2020. | https://www.dragos.com/wp-content/uploads/CRASHOVERRIDE2018.pdf
Dragos-Sandworm-Ukraine-2022 | Dragos, Inc.. (2023, December 11). ELECTRUM Targeted Ukrainian Electric Entity Using Custom Tools and CaddyWiper Malware, October 2022. Retrieved March 28, 2024. | https://www.dragos.com/blog/new-details-electrum-ukraine-electric-sector-compromise-2022/
Mandiant-Sandworm-Ukraine-2022 | Ken Proska, John Wolfram, Jared Wilson, Dan Black, Keith Lunden, Daniel Kapellmann Zafra, Nathan Brubaker, Tyler Mclellan, Chris Sistrunk. (2023, November 9). Sandworm Disrupts Power in Ukraine Using a Novel Attack Against Operational Technology. Retrieved March 28, 2024. | https://www.mandiant.com/resources/blog/sandworm-disrupts-power-ukraine-operational-technology
AI-Mexico-Govt-Compromise | Jay Deen. (2026, May). AI-Assisted Compromise of Mexican Water Utility with OT Implications. Retrieved September 2, 2026. | https://5943619.hs-sites.com/hubfs/116-Whitepapers/dragos-2026-ai-mexico-water-attack-intel-brief.pdf
FBI Water and Wastewater | FBI Press Office. (2026, July 30). Malicious Cyber Actors Targeting Water and Wastewater Sector Internet- Facing Programmable Logic Controllers, Causing Operational Disruptions. Retrieved October 8, 2026. | https://www.fbi.gov/investigate/cyber/alerts/2026/malicious-cyber-actors-targeting-water-and-wastewater-sector-internet--facing-programmable-logic-controllers-causing-operational-disruptions
Dragos Water Under Attack | Michael Rothschild. (2026, August 13). Water Under Attack: A Decade of Warnings, and the Same Gaps Still Open. Retrieved October 8, 2026. | https://www.dragos.com/blog/water-utility-attacks-decade-of-gaps
Tenable Minnesota Water Utilities | Research Special Operations. (2026, July 28). Coordinated "cyberattack" on U.S. water utilities: What you need to know. Retrieved September 26, 2026. | https://www.tenable.com/blog/coordinated-cyberattack-on-minnesota-water-utilities-what-you-need-to-know
Forescout Water Systems Attack | Sai Molige. (2026, August 5). OT Security Analysis: Exposed Devices Attacked in US Water Systems. Retrieved October 8, 2026. | https://www.forescout.com/blog/ot-security-analysis-exposed-devices-attacked-in-us-water-systems/