## matrix
Initial Access | Execution | Persistence | Privilege Escalation | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control | Impact
Data Historian Compromise | Change Operating Mode | Modify Program | Exploitation for Privilege Escalation | Change Operating Mode | Network Connection Enumeration | Default Credentials | Automated Collection | Commonly Used Port | Activate Firmware Update Mode | Brute Force I/O | Damage to Property
Drive-by Compromise | Command-Line Interface | Module Firmware | Hooking | Exploitation for Evasion | Network Sniffing | Exploitation of Remote Services | Data from Information Repositories | Connection Proxy | Alarm Suppression | Modify Parameter | Denial of Control
Engineering Workstation Compromise | Execution through API | Project File Infection |  | Indicator Removal on Host | Remote System Discovery | Lateral Tool Transfer | Detect Operating Mode | Standard Application Layer Protocol | Block Command Message | Module Firmware | Denial of View
Exploit Public-Facing Application | Graphical User Interface | System Firmware |  | Masquerading | Remote System Information Discovery | Program Download | I/O Image |  | Block Reporting Message | Spoof Reporting Message | Loss of Availability
Exploitation of Remote Services | Hooking | Valid Accounts |  | Rootkit | Wireless Sniffing | Remote Services | Man in the Middle |  | Block Serial COM | Unauthorized Command Message | Loss of Control
External Remote Services | Modify Controller Tasking |  |  | Spoof Reporting Message |  | Valid Accounts | Monitor Process State |  | Data Destruction |  | Loss of Productivity and Revenue
Internet Accessible Device | Native API | [5 empty] | Point & Tag Identification |  | Denial of Service |  | Loss of Protection
Remote Services | Scripting | [5 empty] | Program Upload |  | Device Restart/Shutdown |  | Loss of Safety
Replication Through Removable Media | User Execution | [5 empty] | Screen Capture |  | Manipulate I/O Image |  | Loss of View
Rogue Master | [6 empty] | Wireless Sniffing |  | Modify Alarm Settings |  | Manipulation of Control
Spearphishing Attachment | [8 empty] | Rootkit |  | Manipulation of View
Supply Chain Compromise | [8 empty] | Service Stop |  | Theft of Operational Information
Wireless Compromise | [8 empty] | System Firmware